- Typical self-assessment checklist for Digital RI and Datacenter

Note: This section provides an example of how the checklist can be constructed and what are the main areas to be reflected. The presented example can be used as a guide for defining the practical policy document, taking into account the specific scientific domain supported by the policy, organisational structure and national/local regulation.

This checklist is designed to help data centres and digital infrastructures evaluate their compliance with global energy efficiency and environmental sustainability regulations. It covers key areas such as energy performance, cooling efficiency, renewable energy use, water consumption, waste management, and reporting requirements.

1. Energy Efficiency & Power Usage

Power Usage Effectiveness (PUE) & Energy Performance

- Is the PUE ≤ 1.5 (or lower based on regional regulations)?

- Does the data centre comply with EU Ecodesign (2019/424) standards for server and power efficiency?

- Are high-efficiency power supplies used (80 PLUS Platinum/Titanium certified)?

- Does the data centre implement dynamic workload scheduling for better energy efficiency?

Renewable Energy & Carbon Neutrality

- Is at least 80% of the energy sourced from renewables (as per EU Taxonomy for Sustainable Activities)?

- Has the data centre signed a Power Purchase Agreement (PPA) for off-site renewable energy?

- Are on-site solar, wind, or geothermal power solutions integrated?

- Does the data centre have a carbon neutrality roadmap (e.g., EU Green Deal target for 2030)?

Energy Storage & Backup Power

- Are Lithium-ion or advanced battery systems used instead of lead-acid UPS to improve efficiency?

- Has the data centre implemented fuel cells or alternative energy backup systems?

- Is the grid-interactive energy management system used for demand response?

2. Cooling Efficiency & Thermal Management

Cooling System Optimisation

- Does the data centre maintain high operating temperatures within ASHRAE A1 to A4 thermal guidelines?

- Are hot/cold aisle containment systems used to improve cooling efficiency?

- Is free cooling (economiser-based or air-side cooling) utilised?

- Does the data centre implement direct-to-chip liquid cooling or immersion cooling?

- Does the facility comply with EU Energy Efficiency Directive (EED) requirements for cooling systems?

Water Usage & WUE Compliance

- Is WUE ≤ 1.8 L/kWh?

- Are water-efficient cooling towers used, or is a waterless cooling system in place?

- Does the data centre recycle water or use rainwater harvesting?

- Is the facility designed for minimal groundwater depletion (per relevant EU guidelines)?

3. Sustainable Materials & Circular Economy Compliance

Server & Infrastructure Lifecycle Management

- Are modular, repairable, and upgradable servers used to extend lifecycle and reduce e-waste?

- Is there a hardware refurbishment and repurposing program in place?

- Are eco-friendly materials (low-carbon steel, aluminium, or recycled plastics) used for construction?

Waste Heat Recovery & Reuse

- Is excess heat recovered and reused for district heating or industrial processes?

- Does the data centre participate in waste heat recovery initiatives (as encouraged by the EU Energy Efficiency Directive)?

End-of-Life Recycling & E-Waste Reduction

- Is there a zero-landfill policy for IT equipment?

- Are retired components processed through an IT asset disposition (ITAD) program?

- Does the data centre comply with Waste Electrical and Electronic Equipment (WEEE) regulations for e-waste management?

4. Environmental Reporting & Compliance

Regulatory Reporting & Auditing

- Does the data centre report energy use, water consumption, and carbon footprint under EU Energy Efficiency Directive (EED) Article 8?

- Are Scope 1, Scope 2, and Scope 3 Greenhouse Gas (GHG) emissions reported (as per CSRD in the EU and SECR in the UK)?

- Is the facility registered for ISO 50001 (Energy Management Systems) or ISO 14001 (Environmental Management Systems)?

- Does the organisation comply with Leadership in Energy and Environmental Design (LEED), BREEAM, or OCP Efficiency Guidelines?

Transparency & Public Disclosures

- Are sustainability reports publicly available?

- Does the organisation align with Science-Based Targets Initiative (SBTi) or Climate Neutral Data Centre Pact (CNDCP)?

5. Compliance with Industry Standards & Certifications

Building Efficiency & LEED Certification

- Has the facility obtained LEED Gold or Platinum certification for energy-efficient design?

- Does the data centre comply with ASHRAE 90.4 Energy Standard for Data Centres?

European & Global Compliance

- Does the data centre align with EU Taxonomy for Sustainable Activities (for financial investment and ESG compliance)?

- Are EU Ecodesign regulations for servers and storage (2019/424) followed?

Final Self-Assessment Score

- Fully Compliant (90-100% of checklist met)

- Partially Compliant (70-89% met, requires improvement)

- Non-Compliant (<70%, major gaps in sustainability & energy efficiency)

Possible next steps/extensions

- Develop an action plan or roadmap to meet regulatory requirements.

- Monitor and optimise energy, water, and carbon efficiency continuously.

- Seek external certifications (LEED, ISO 50001, OCP) to validate compliance.

- Align with international climate goals to future-proof data centre operations.