- Checklist for Data Center and Digital Infrastructure Compliance

The presented here compliance scoring framework is intended to help data centers and digital infrastructures assess their adherence to energy efficiency, environmental sustainability, and regulatory requirements, following KPI and reporting requirements based on EU regulations. It assigns a weighted score based on the importance of different criteria.

1. Scoring Methodology

Each category is assigned a total score, with individual items weighted based on impact and regulatory importance. The maximum possible score is 100 points.

| Category | Weight (%) | Score Range |
| --- | --- | --- |
| Energy Efficiency & Power Usage | 25% | 0 – 25 |
| Cooling Efficiency & Water Usage | 20% | 0 – 20 |
| Renewable Energy & Carbon Reduction | 20% | 0 – 20 |
| Sustainable Materials & Waste Management | 15% | 0 – 15 |
| Environmental Reporting & Compliance | 20% | 0 – 20 |
| Total Score | 100% | 0 – 100 |

2. Compliance Criteria & Scoring Details

Each compliance item is graded based on the level of implementation:

O Full compliance = 100% of the item’s score

# Partial compliance = 50% of the item’s score

X Non-compliance = 0% of the item’s score

1. Energy Efficiency & Power Usage (25 points)

| Compliance Item | Points | Compliance Status (O, #, X) | Score |
| --- | --- | --- | --- |
| PUE ≤ 1.5 (or regionally mandated target) | 5 |  |  |
| 80 PLUS Platinum or Titanium-certified power supplies | 5 |  |  |
| Dynamic workload scheduling for efficiency | 5 |  |  |
| Lithium-ion UPS or alternative energy storage | 5 |  |  |
| Smart Energy Monitoring & AI-based Optimisation | 5 |  |  |
| Subtotal | 25 |  |  |

2. Cooling Efficiency & Water Usage (20 points)

| Compliance Item | Points | Compliance Status (O, #, X) | Score |
| --- | --- | --- | --- |
| Liquid cooling / direct-to-chip / immersion cooling used | 5 |  |  |
| Air cooling with free cooling or adiabatic system | 5 |  |  |
| Hot/cold aisle containment implemented | 5 |  |  |
| Water Usage Effectiveness (WUE) ≤ 1.8 L/kWh | 5 |  |  |
| Subtotal | 20 |  |  |

3. Renewable Energy & Carbon Reduction (20 points)

| Compliance Item | Points | Compliance Status (O, #, X) | Score |
| --- | --- | --- | --- |
| 80% or more of energy from renewable sources | 5 |  |  |
| On-site solar, wind, or geothermal power installed | 5 |  |  |
| Participation in Power Purchase Agreements (PPA) | 5 |  |  |
| Carbon neutrality plan (net-zero by 2030/2050) | 5 |  |  |
| Subtotal | 20 |  |  |

4. Sustainable Materials & Waste Management (15 points)

| Compliance Item | Points | Compliance Status (O, #, X) | Score |
| --- | --- | --- | --- |
| Modular & repairable server designs implemented | 5 |  |  |
| E-waste recycling & IT asset disposition (ITAD) | 5 |  |  |
| Waste heat recovery & reuse program in place | 5 |  |  |
| Subtotal | 15 |  |  |

5. Environmental Reporting & Compliance (20 points)

| Compliance Item | Points | Compliance Status (O, #, X) | Score |
| --- | --- | --- | --- |
| Compliance with ISO 50001 or ISO 14001 | 5 |  |  |
| EU CSRD, SECR, or other carbon reporting compliance | 5 |  |  |
| Public sustainability reports (GHG Scope 1, 2, 3) | 5 |  |  |
| Certification: LEED, BREEAM, or OCP Efficiency Guidelines | 5 |  |  |
| Subtotal | 20 |  |  |

3. Compliance Score Calculation

Total Score = (Sum of all category scores) / 100

Compliance Rating Based on Score:

90 – 100 = Fully Compliant

70 – 89 = Partially Compliant

Below 70 = Non-Compliant (Action Required)

4. Actions for Non-Compliant Areas

The following actions are planned for partially compliant or non-compliant items (typically expected in the formal compliance reports):

Prioritisation of high-impact areas (energy efficiency, cooling, renewables).

Action plan with clear targets.

Implementation of best practices in the domain (PUE optimisation, renewable energy integration).

Planned third-party certifications for validation (ISO, LEED, BREEAM).

Monitoring progress for recommended compliance reassessment every 6-12 months.